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PURPOSE: To insure that all hose in service on apparatus, or in storage as spare or “rack” hose is pressure tested annually, to specifications stamped on the hose, and contained in NFPA1962 
OBJECTIVE: All firematic hose in service on any and all Wyckoff Fire Dept. apparatus or in storage as spare or “rack” hose, shall be pressure tested annually as per NFPA 1962. All spare/ “rack” hose that has not been tested shall be labeled “Not Tested” and cannot be put in service on any apparatus or used for any firematic or non-firematic purpose. All spare/rack hose will be stored at co.#3. Any company needing rack hose shall contact the designated co 3 officer and make appropriate arrangements. All hose testing shall be performed by a QUALIFIED outside vendor, approved and contracted by the Chief of the Wyckoff Fire Department, or his designee.
GUIDELINE:
1.  The Chief of the Wyckoff  Fire Department, or his designee, shall annually contract a Qualified vendor to conduct hose testing of all hose in service on any and all WFD apparatus, and all spare/rack hose that is deemed necessary.

2. The Dept. will provide a flat, clean, paved area at least 400 feet in length with a hydrant at one end.(driveway to Ridgewood Water well house off  Weisch Ln.)

3. The contracted vendor shall be instructed to obtain a water use permit from Ridgewood Water Authority.
4. The contracted Vendor shall bring all equipment and manpower needed to complete the task, including but not limited to: spanner wrenches, hydrant wrenches, pumps, gates, valves, pony hose, caps.

5. The vendor shall insure that every length of hose has an I D #, and will make and provide a complete inventory to the WFD.
6. For more detail or instruction refer to NFPA 1962.

7. At completion of testing vendor shall provide written report to be placed on file.
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